## Summary
Bills of Quantities – Summary Page
Summary
Section No | Description | Amount
1 | SABS 1200 A – Preliminary and General
2 | SABS 1200 C – Site Clearance
3 | SABS 1200 DA – Earthworks
4 | SABS 1200 DB – Pipe Trenches
5 | SABS 1200 DK – Gabions and Pitching
6 | SABS 1200 DM – Earthworks (Roads Subgrade)
7 | SABS 1200 G – Concrete (Structural)
8 | SABS 1200 L – Medium Pressure Pipelines
9 | SABS 1200 LB – Bedding Pipes
10 | SABS 1200 LC – Cable Ducts and Sleeves
11 | SABS 1200 LE – Stormwater
12 | SABS 1200 ME – Roads (Subbase)
13 | SABS 1200 MF – Roads (Base)
14 | SABS 1200 MJ – Segmented Paving
15 | SABS 1200 MK – Kerbing and Channeling
16 | SABS 1200 MM – Ancillary Roadworks
Subtotal
Allow 10.0% Contingencies to be used as directed
Allow 5% for Escalation
Subtotal
Value-Added Tax (VAT) at 15%
TOTAL OF PRICES INCLUDING VAT

## 1200A
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 1 :
| 1200A | GENERAL
| 8.3 | SCHEDULED FIXED-CHARGE AND VALUE-RELATED ITEMS
1.1 | 8.3.1 | Contractual requirements | sum | 1
1.2 | 8.3.2 | Establishment of facilities on the site
1.2.1 | 8.3.2.1 | Facilities for engineer
1.2.1.1 | c) | Nameboards (1 No.) | sum | 1
1.2.2 | 8.3.2.2 | Facilities for contractor
1.2.2.1 | a) | Offices and storage sheds | sum | 1
1.2.2.2 | e) | Ablution and latrine facilities | sum | 1
1.2.2.3 | f) | Tools & equipment | sum | 1
1.2.2.4 | g) | Water supplies, electric power and communications | sum | 1
1.2.2.5 | h) | Dealing with water | sum | 1
1.2.2.6 | i) | Access | sum | 1
1.3 | 8.3.3 | Other fixed-charge obligations
1.3.1 | a) | Occupational health & safety act (Including compliance with Covid 19 regulations as per national gazetted specifications) | sum | 1
1.4 | 8.3.4 | Removal of site establishment | sum | 1
| 8.4 | SCHEDULED TIME-RELATED ITEMS
1.5 | 8.4.1 | Contractual requirements | sum | 1
1.6 | 8.4.2 | Operation and maintenance of facilities on site, for duration of construction, except where otherwise stated
1.6.1 | 8.4.2.1 | Facilities for engineer
1.6.1.1 | c) | Nameboards (1 No.) | sum | 1
1.6.2 | 8.4.2.2 | Facilities for contractor
1.6.2.1 | a) | Offices and storage sheds | sum | 1
1.6.2.2 | e) | Ablution and latrine facilities | sum | 1
1.6.2.3 | f) | Tools & equipment | sum | 1
1.6.2.4 | g) | Water supplies, electric power and communications | sum | 1
1.6.2.5 | h) | Dealing with water | sum | 1
1.6.2.6 | i) | Access | sum | 1
1.7 | 8.4.3 | Supervision for duration of construction | sum | 1
1.8 | 8.4.4 | Company and head office overhead Costs for the duration of the contract | sum | 1
1.9 | 8.4.5 | Other time-related obligations
1.9.1 | a) | Occupational health & safety act (Including compliance with covid 19 regulations as per national gazetted specifications) | sum | 1
1.9.2 | b) | Allowance for a construction safety officer for the duration of the construction | sum | 1
TOTAL CARRIED FORWARD
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD
| 8.7 | DAYWORK
1.1 | a) | Labour
1.10.1 | 1) | Unskilled labour | hr | 25
1.10.2 | 2) | Semi-skilled labour (Pipelayer, section leader) | hr | 20
1.10.3 | 3) | Skilled labour (artisan) | hr | 20
1.10.4 | 4) | Survey (Including assistants and equipment) | hr | 20
1.10.5 | 5) | Foreman | hr | 10
1.11 | b) | Plant
1.11.1 | 1) | Compressor with hoses, hand tools and pipe (Min air output 7m³/min) | hr | 15
1.11.2 | 2) | Tract type excavator (Cat 225 or similar) | hr | 10
1.11.3 | 3) | Grader (Min 112kW) | hr | 10
1.11.4 | 4) | Tractor loader backhoe (Min 45 kW) | hr | 10
1.11.5 | 5) | Front end loader (Backhoe) | hr | 10
1.11.6 | 6) | Tip truck (6m³) | hr | 10
1.11.7 | 7) | Vibro roller (Min 12 ton) | hr | 10
1.11.8 | 8) | Water tanker (Min 6000 litre) | hr | 10
| 8.8 | TEMPORARY WORKS
1.12 | 8.8.1 | Main access road to works | sum | 1
1.13 | 8.8.2 | Dealing with traffic | sum | 1
1.14 | 8.8.4 | Existing services
| c) | Excavation by hand in soft material to expose existing civil services, including backfilling and compaction to 93% of modified AASHTO maximum density if required | m³ | 20
TOTAL CARRIED FORWARD TO SUMMARY

## 1200C
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 2 :
| 1200C | SITE CLEARANCE
| 8.2 | SCHEDULED ITEMS
2.1 | 8.2.1 | Clear and grub | ha | 1.3
2.2 | 8.2.2 | Remove and grub large trees and tree stumps of girth
| a) | Over 1m and up to and including 2m | no. | 2
2.3 | 8.2.4 | Reclear surfaces (Only on instructions from the Engineer) | ha | 0.65
2.4 | 8.2.5 | Take down existing fences | km | 0
2.5 | 8.2.10 | Remove topsoil from roads, parking and building platforms to nominal depth of 150mm and stockpile | m³ | 1950
TOTAL CARRIED FORWARD TO SUMMARY

## 1200DA
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 3 :
| 1200DA | EARTHWORKS (SMALL WORKS)
| 8.3 | SCHEDULED ITEMS
3.1 | 8.3.1 | Excavation
3.1.1 | b) | Excavate in all materials and use for embankment or backfill or dispose, as ordered
3.1.1.1 | 1) | Excavate in all materials for construction of roadways and parking including compaction to 93% of modified AASHTO maximum density | m³ | 990
3.1.1.2 | 2) | Excavate in all materials for roadways and parking and dispose off site as ordered | m³ | 2440
3.1.1.3 | 3) | Excavation in all materials from roads and parking and stockpile for platforms as directed on site for bulk fill | m³ | 1220
3.1.1.4 | 1) | Excavate in all materials for construction of platforms including compaction to 93% of modified AASHTO maximum density | m³ | 550
3.1.1.5 | 2) | Excavate in all materials for platforms and dispose off site as ordered | m³ | 1100
3.1.1.6 | 3) | Excavation in all materials from platforms and stockpile for platforms as directed on site for bulk fill | m³ | 550
3.1.2 | c) | Extra-over for:
3.1.2.1 | 2) | Hard rock excavation | m³ | 5137.5
3.1.2.2 | 3) | Boulder excavation, class A | m³ | 0
3.1.2.3 | 4) | Boulder excavation, class B | m³ | 0
3.2 | 8.3.2 | Restricted excavation
3.2.1 | a) | Excavate for restricted foundations, footings and trenches in all materials and use for backfilling or embankment or dispose
3.2.1.1 | 1) | Excavate for restricted foundations of retaining walls in all materials | m³ | 1326
3.2.1.2 | 1) | Excavate for key in concrete roadway in all materials | m³ | 65
3.2.1.3 | 1) | Excavate for box drain in all materials | m³ | 47.25
3.2.2 | b) | Extra-over for:
3.2.2.1 | 2) | Hard rock excavation | m³ | 1182.35
3.2.2.2 | 3) | Boulder excavation, class A | m³ | 0
3.2.2.3 | 4) | Boulder excavation, class B | m³ | 0
3.3 | 8.3.4 | Importing of materials from commercial sources
3.3.1 | 1) | Importation of G7 material from commercial sources for replacement of inferior quality roadway and walkway material or for shortfall of roadway and walkway material including compaction to 93% of modified AASHTO maximum density | m³ | 75
3.3.2 | 1) | Importation of G7 material from commercial sources for construction of roads, parking and platformsincluding compaction to 93% of modified AASHTO maximum density | m³ | 880
TOTAL CARRIED FORWARD | [5 empty] | 0
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD | [5 empty] | 0
3.4 | 8.3.6 | Topsoiling
3.4.1 | 1) | Spread topsoil in 150mm thick layers with material taken from stockpile under item 2.5 (Section C) for general areas on site | m² | 750
3.4.2 | 1) | Spread topsoil in 150mm thick layers with material taken from stockpile under item 2.5 (Section C) for each plot | m² | 3315
3.5 | 8.3.7 | Grassing or other vegetation cover for general areas on site | m² | 750
3.6 | 8.3.7 | Grassing or other vegetation cover on each plot | m² | 3315
3.7 | 8.3.9 | Extra over Item 3.1 for backfilling against structures within a minimum 1m wide zone around the perimeter of the structures | m³ | 5100
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## 1200DB
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 4 :
| 1200DB | EARTHWORKS (PIPE TRENCHES)
| 8.3 | SCHEDULED ITEMS
WATER PIPELINES
4.1 | 8.3.2 | Excavation
4.1.1 | a) | Excavate in all material for trenches, backfill, compact and dispose of surplus material
4.1.1.1 | 1) | Pipes of 200mm diameter or less for depths as follows:
|  | Over & Up to |  | 600
4.1.1.1.1 | (i) | 0.6m 1.0m | m | 180
4.1.1.1.2 | (ii) | 1.0m 1.5m | m | 420
4.1.2 | b) | Extra-over item (a) above for:
4.1.2.1 | 2) | Hard rock excavation | m³ | 257.4
4.1.3 | c) | Excavate and dispose of unsuitable material from trench bottom | m³ | 35
4.2 | 8.3.3 | Excavation ancillaries
4.2.1 | 8.3.3.1 | Make up deficiency in backfill material |  | 288
4.2.1.1 | c) | By importation from commercial or off-site sources selected by the contractor | m³ | 288
4.2.2 | 8.3.3.3 | Compaction in road reserves | m³ | 54
ELECTRICAL SLEEVES/DUCTS
4.3 | 8.3.2 | Excavation
4.3.1 | a) | Excavate in all material for trenches, backfill, compact and dispose of surplus material
4.3.1.1 | 1) | Pipes of 200mm diameter or less for depths as follows:
Over & Up to
4.3.1.1.1 | (i) | 0.6m 1.0m | m | 100
4.3.1.1.2 | (ii) | 1.0m 1.5m | m | 0
4.3.2 | b) | Extra-over item (a) above for:
4.3.2.1 | 2) | Hard rock excavation | m³ | 1
4.3.3 | c) | Excavate and dispose of unsuitable material from trench bottom | m³ | 5
4.4 | 8.3.3 | Excavation ancillaries
4.4.1 | 8.3.3.1 | Make up deficiency in backfill material |  | 48
4.4.1.1 | c) | By importation from commercial or off-site sources selected by the contractor | m³ | 48
4.4.2 | 8.3.3.3 | Compaction in road reserves | m³ | 48
TOTAL CARRIED FORWARD | [5 empty] | 0
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD | [5 empty] | 0
SEWER PIPELINES
4.5 | 8.3.2 | Excavation
4.5.1 | a) | Excavate in all material for trenches, backfill, compact and dispose of surplus material
4.5.1.1 | 1) | Pipes of 200mm diameter or less for depths as follows:
|  | Over & Up to |  | 350
4.5.1.1.1 | (i) | 1.0m 2.0m | m | 87.5
4.5.1.1.2 | (ii) | 2.0m 3.0m | m | 210
4.5.1.1.3 | (ii) | 3.0m 4.0m | m | 52.5
4.5.2 | b) | Extra-over item (a) above for:
4.5.2.1 | 2) | Hard rock excavation | m³ | 562.275
4.5.3 | c) | Excavate and dispose of unsuitable material from trench bottom | m³ | 35
4.6 | 8.3.3 | Excavation ancillaries
4.6.1 | 8.3.3.1 | Make up deficiency in backfill material |  | 168
4.6.1.1 | c) | By importation from commercial or off-site sources selected by the contractor | m³ | 168
4.6.2 | 8.3.3.3 | Compaction in road reserves | m³ | 47.25
STORMWATER PIPELINES
4.7 | 8.3.2 | Excavation
4.7.1 | a) | Excavate in all material for trenches, backfill, compact and dispose of surplus material
4.7.1.1 | 1) | Pipes of 200mm diameter or less for depths as follows:
|  | Over & Up to |  | 330
4.7.1.1.1 | (i) | 1.0m 2.0m | m | 115.5
4.7.1.1.2 | (ii) | 2.0m 3.0m | m | 181.5
4.7.1.1.2 | (iii) | 3.0m 4.0m | m | 33
4.7.2 | b) | Extra-over item (a) above for:
4.7.2.1 | 2) | Hard rock excavation | m³ | 320.76
4.7.3 | c) | Excavate and dispose of unsuitable material from trench bottom | m³ | 20
4.8 | 8.3.3 | Excavation ancillaries
4.8.1 | 8.3.3.1 | Make up deficiency in backfill material |  | 158.4
4.8.1.1 | c) | By importation from commercial or off-site sources selected by the contractor | m³ | 158.4
4.8.2 | 8.3.3.3 | Compaction in road reserves | m³ | 39.6
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## 1200DK
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 5 :
| 1200DK | GABIONS AND PITCHING
| 8.2 | SCHEDULED ITEMS
5.1 | 8.2.1 | Surface Prepartion for bedding of Gabions
5.1.1 | a) | Cavities filled with approved excavation material or rock | m² | 20
5.1.2 | b) | Cavities filled with Grade 15 Concrete | m² | 10
5.2 | 8.2.2 | Gabions
5.2.1 |  | (a) Galvanized gabion boxes of 80 x 100 x 2,7 mm mesh (1,0 m wide by 1,0 m deep)
5.2.1.1 |  | (i) by 1,0 m long | m³ | 1
5.2.1.2 |  | (ii) by 2,0 m long | m³ | 2
5.2.1.3 |  | (iii) by 4,0 m long | m³ | 1
5.2.2 |  | Gabion Reno Mattresses
5.2.2.1 |  | (i) 2.0 by 1.0 by 0.3 m | m³ | 6
5.2.2.2 |  | (ii) 3.0 by 1.0 by 0.3 m | m³ | 1
5.2.2.3 |  | (iii) 4.0 by 1.0 by 0.3 m | m³ | 1
5.3 | 8.2.4 | Geotextile (or geomembrane)
5.3.1 | a) | A4 non-woven, needle-punched geotextile | m² | 250
5.4 | 8.2.5 | Pitching
5.4.1 |  | Stone pitching to Stormwater Headwalls as per detail | m² | 10
TOTAL CARRIED FORWARD TO SUMMARY

## 1200DM
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 6 :
| 1200DM | EARTHWORKS (ROADS, SUBGRADE)
| 8.3 | SCHEDULED ITEMS
6.1 | 8.3.3 | Treatment of road-bed including roads and parking areas
6.1.1 | a) | Road-bed preparation and compaction of material to |  | 5100
6.1.1.1 | 1) | Minimum of 90% of modified AASHTO maximum density | m³ | 10
6.1.1.2 | 2) | Minimum of 93% of modified AASHTO maximum density | m³ | 114.75
6.1.2 | b) | In Place treatment of road bed in hard rock material by:
6.1.2.1 | 1) | Ripping | m³ | 650.25
6.2 | 8.3.3 | Treatment of building platforms
6.2.1 | a) | Road-bed preparation and compaction of material to |  | 6500
6.2.1.1 | 1) | Minimum of 90% of modified AASHTO maximum density | m³ | 10
6.2.1.2 | 2) | Minimum of 93% of modified AASHTO maximum density | m³ | 146.25
6.1.3 | b) | In Place treatment of road bed in hard rock material by:
6.1.3.1 | 1) | Ripping | m³ | 828.75
6.3 | 8.3.5 | Selected layer compacted to 93% of modified AASHTO maximum density
6.3.1 | a) | Importation of G7 material from commercial sources for construction of the selected layer including compaction to 93% of modified AASHTO maximum density | m³ | 174
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## 1200G
Item No | Payment Refers | Description | Unit | Estimated Quantity | Rate | Amount
7 | SABS 1200G | SECTION 7 : CONCRETE (STRUCTURAL)
7.1 |  | CONSTRUCTION OF CONCRETE ROAD
7.1.1 | 8.2 | SCHEDULED FORMWORK ITEMS
7.1.1.1 | 8.2.1 | Rough walls below ground to the following:
7.1.1.1.1 |  | i) Vertical plane to concealed surfaces of Concrete Road | m² | 4
7.1.1.1.2 |  | ii) Vertical curved to concealed surface of Concrete Road | m² | 1
7.1.1.2 | 8.2.2 | Smooth formwork to the following:
7.1.1.2.1 |  | i) Vertical plane to exposed face of Concrete Road | m² | 5
7.1.1.2.2. |  | ii) Vertical curved to exposed face of Concrete Roads | m² | 5
7.1.2 |  | SCHEDULED CONCRETE ITEMS
7.1.2.1 | 8.4.3 | Strength concrete: 35Mpa/38mm Fibre Reinforced Concrete to:
7.1.2.1.1 |  | i) Concrete Road | m³ | 820
7.1.3 | 8.4.4. | Unformed surface finishes
7.1.3.1 | 8.4.4 (a) | Wood float finish to:
7.1.3.1.1 |  | i) Concrete Road | m² | 5100
7.1.3.2 | 8.4.4 (b) | Special burlap finish to:
7.1.3.2.1 |  | i) Concrete Road | m² | 5100
7.2 | 8.6 | "TERRAFORCE" PRECAST CONCRETE INTERLOCKING PLANTER BLOCKS FINISHED SMOOTH ON EXPOSED SURFACES
7.2.1 |  | Retaining structure with stepped face and curves as required to suit slopes, of type M10 interlocking planter blocks (10 Blocks/m² measured vertically) laid with horizontal bed joints to 70 degree slope, delivered and stacked on site, remove from stacks and erected (measured in elevation). Max wall height = 4.5m. | m² | 440
7.2.2 | 8.4 | Concrete
7.2.2.1 | 8.4.3 | Strength grade 25/19 concrete to footing Rate to include for all shuttering as required | m³ | 52.5
TOTAL CARRIED FORWARD | [5 empty] | 0
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD | [5 empty] | 0
7.3 |  | Retaining Walls
7.3.1 |  | Brick walls - used as permanent formwork for cavity retaining walls. Walls to be constructed of two skins of 110mm brick wall with 230mm cavity to be filled with concrete (measured elsewhere) | m² | 2350
7.3.2 | 8.2.6 | Box out holes/ form voids as follows:
7.3.2.1 | a) | i) small circular of diameter up to and including 0.65 metres | No | 4
7.3.3 | 8.3 | SCHEDULED REINFORCING ITEMS
7.3.3.1 | 8.3.1 | Mild steel bars up to and including 12mm | t | 115.9
7.3.3.2 | 8.3.1 | High tensile steel bars up to and including 25mm | t | 0.5
7.3.3.3 | 8.3.2 | High tensile welded mesh Reference 617 | m² | 1455
7.3.2 |  | SCHEDULED CONCRETE ITEMS
7.3.2.1 | 8.4.3 | Strength concrete: 25Mpa/13mm Reinforced Concrete to:
7.3.2.1.1 |  | i) Concrete to foundations | m³ | 720
7.3.2.1.2 |  | i) Cavity Filled Concrete | m³ | 500
7.4 |  | BOX DRAIN
7.4.1 |  | Construct Box Drain as per detail, complete with formwork, concrete, reinforcing and metal grid | m | 112.5
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0 | 0

## 1200L
Item No | Payment Refers | Description | Unit | Billed Quantity | Ontap Rate | Amount
| SABS | SECTION 7 :
| 1200L | MEDIUM PRESSURE PIPELINES
| 8.2 | SCHEDULED ITEMS
7.1 | 8.2.1 | Supply, lay and bed (SABS 1200 Drawing LB-2 (a) Flexible pipes bedding) pipes complete with couplings
7.1.1 | a) | 50mm diameter uPVC class 12 | m | 415
7.1.3 | b) | 110mm diameter uPVC class 12 | m | 180
7.2 | 8.2.2 | Extra-over 8.2.1 for the supplying, laying and bedding of specials complete with couplings
7.2.1 | a) | Cast iron end caps
7.2.1.1 | 1) | 50mm | no. | 3
7.2.1.2 | 3) | 110mm | no. | 1
7.2.2 | b) | Cast iron equal tee's
7.2.2.1 | 3) | 110mm x 110mm x 110mm | no. | 3
7.2.3 | c) | Cast iron reducing tee's
7.2.3.1 | 3) | 160mm x 160mm x 110mm | no. | 1
7.2.4 | d) | Cast iron reducers
7.2.4.1 | 1) | 75mm x 50mm | no. | 12
7.2.4.2 | 2) | 110mm x 75mm | no. | 12
7.2.5 | e) | uPVC Bends
7.2.5.1 | 1) | Class 16
7.2.5.1.1 | i) | 50mm diameter x 11.25° | no. | 1
7.2.5.1.2 | ii) | 50mm diameter x 22.5° | no. | 1
7.2.5.1.3 | iii) | 50mm diameter x 45° | no. | 2
7.2.5.1.4 | iv) | 50mm diameter x 90° | no. | 12
7.2.5.1.5 | ix) | 110mm diameter x 11.25° | no. | 1
7.2.5.1.6 | x) | 110mm diameter x 22.5° | no. | 1
7.2.5.1.7 | xi) | 110mm diameter x 45° | no. | 4
7.2.5.1.8 | xii) | 110mm diameter x 90° | no. | 1
7.2.6 | f) | Saddles
7.2.6.1 | 1) | Class 16
7.2.6.1.1 | i) | 50mm x 1" Compression saddle and male adapter | no. | 35
7.2.6.1.2 | ii) | 110mm x 1" Compression saddle and male adapter | no. | 4
7.2.7 | g) | Erf Connections
7.2.7.1 | 1) | Install erf connections complete including excavation, bedding, valves, water meters and specials complete as per detail
7.2.7.1.1 | i) | Type 1 (Short double) | no. | 10
7.2.7.1.2 | ii) | Type 2 (Short single) | no. | 19
7.3 | 8.2.3 | Extra-over 8.2.1 for the supplying, fixing and bedding of valves
7.3.1 | a) | Air valve chamber fittings (Class 16) including all valves, fittings and pipework complete as per detail
7.3.1.1 | 1) | 50mm diameter pipelines | no. | 3
7.3.1.2 | 3) | 110mm diameter pipelines | no. | 1
TOTAL CARRIED FORWARD | [5 empty] | 0
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD | [5 empty] | 0
7.3.2 | b) | Isolation valve chamber fittings (Class 16) including all valves, fittings and pipework complete as per detail
7.3.2.1 | 1) | 50mm diameter pipelines | no. | 8
7.3.2.3 | 3) | 110mm diameter pipelines | no. | 5
7.3.3 | c) | Check valve chamber fittings (Class 16) including all valves, fittings and pipework complete as per detail
7.3.3.1 | 3) | 110mm diameter pipelines | no. | 1
7.3.4 | d) | Scour valve chamber fittings (Class 16) including all valves, fittings and pipework complete as per detail
7.3.4.1 | 1) | 50mm diameter pipelines | no. | 2
7.3.4.2 | 3) | 110mm diameter pipelines | no. | 1
7.3.5 | e) | Water meter chamber fittings (Class 16) including all valves, fittings and pipework complete as per detail
7.3.5.1 | 3) | 110mm diameter pipelines | no. | 1
7.3.6 | f) | Suction hydrant (Class 16) including all valves, fittings and pipework complete as per detail
7.3.6.1 | 1) | DN 100mm diameter | no. | 1
7.3.7 | g) | Fire hydrant booster (Class 16) including all valves, fittings and pipework complete as per detail
7.3.7.1 | 1) | DN 100mm diameter | no. | 1
7.3.8 | h) | Fire hydrant (Class 16) including all valves, fittings and pipework complete as per detail
7.3.8.1 | 1) | DN 80mm diameter | no. | 4
7.4 | 8.2.11 | Anchor/thrust blocks and pedestals
7.4.1 | a) | Construct anchor/thrust blocks in 15MPA concrete complete including formwork | no. | 85
7.5 | 8.2.13 | Valve and hydrant chambers, etc
7.5.1 | a) | Precast concrete chambers complete as per detail | no. | 28
7.6 |  | Connection to existing reticulation at position as shown on the drawings. Rate to include all dealings with municipal authorities and execution of the works including road crossing |  | 1
TOTAL CARRIED FORWARD TO SUMMARY | [5 empty] | 0

## 1200LB
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 8 :
| 1200LB | BEDDING (PIPES)
| 8.2 | SCHEDULED ITEMS
WATER PIPELINES
8.1 | 8.2.1 | Provision of bedding from trench excavation |  | 600
8.1.1 | a) | Selected granular material | m³ | 9
8.1.2 | b) | Selected fill material | m³ | 36
8.2 | 8.2.2 | Supply only of bedding by importation
8.2.1 | 8.2.2.1 | From other necessary excavations
8.2.1.1 | a) | Selected granular material | m³ | 9
8.2.1.2 | b) | Selected fill material | m³ | 36
8.2.2 | 8.2.2.2 | From borrow pits
8.2.2.1 | a) | Selected granular material | m³ | 0
8.2.2.2 | b) | Selected fill material | m³ | 0
8.2.3 | 8.2.2.3 | From commercial sources
8.2.3.1 | a) | Selected granular material | m³ | 27
8.2.3.2 | b) | Selected fill material | m³ | 108
8.3 | 8.2.4 | Encasing of pipes in concrete
8.3.1 | a) | 250mm diameter pipes or less in 25/19MPa concrete | m³ | Rate Only
ELECTRICAL SLEEVES/DUCTS
8.4 | 8.2.1 | Provision of bedding from trench excavation |  | 100
8.4.1 | a) | Selected granular material | m³ | 1.5
8.4.2 | b) | Selected fill material | m³ | 6
8.5 | 8.2.2 | Supply only of bedding by importation
8.5.1 | 8.2.2.1 | From other necessary excavations
8.5.1.1 | a) | Selected granular material | m³ | 1.5
8.5.1.2 | b) | Selected fill material | m³ | 6
8.5.2 | 8.2.2.2 | From borrow pits
8.5.2.1 | a) | Selected granular material | m³ | 0
8.5.2.2 | b) | Selected fill material | m³ | 0
8.5.3 | 8.2.2.3 | From commercial sources
8.5.3.1 | a) | Selected granular material | m³ | 4.5
8.5.3.2 | b) | Selected fill material | m³ | 18
8.6 | 8.2.4 | Encasing of pipes in concrete
8.6.1 | a) | 250mm diameter pipes or less in 25/19MPa concrete | m³ | 0
TOTAL CARRIED FORWARD
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD
|  | SEWER PIPELINES |  |  |  |  | 0
8.7 | 8.2.1 | Provision of bedding from trench excavation |  | 350
8.7.1 | a) | Selected granular material | m³ | 5.25
8.7.2 | b) | Selected fill material | m³ | 21
8.8 | 8.2.2 | Supply only of bedding by importation
8.8.1 | 8.2.2.1 | From other necessary excavations
8.8.1.1 | a) | Selected granular material | m³ | 5.25
8.8.1.2 | b) | Selected fill material | m³ | 21
8.8.2 | 8.2.2.2 | From borrow pits
8.8.2.1 | a) | Selected granular material | m³ | 0
8.8.2.2 | b) | Selected fill material | m³ | 0
8.8.3 | 8.2.2.3 | From commercial sources
8.8.3.1 | a) | Selected granular material | m³ | 15.75
8.8.3.2 | b) | Selected fill material | m³ | 63
8.9 | 8.2.4 | Encasing of pipes in concrete
8.9.1 | a) | 250mm diameter pipes or less in 25/19MPa concrete | m³ | 2
0
STORMWATER PIPELINES
8.1 | 8.2.1 | Provision of bedding from trench excavation |  | 330
8.10.1 | a) | Selected granular material | m³ | 4.95
8.10.2 | b) | Selected fill material | m³ | 19.8
8.11 | 8.2.2 | Supply only of bedding by importation
8.11.1 | 8.2.2.1 | From other necessary excavations
8.11.1.1 | a) | Selected granular material | m³ | 4.95
8.11.1.2 | b) | Selected fill material | m³ | 19.8
8.11.2 | 8.2.2.2 | From borrow pits
8.11.2.1 | a) | Selected granular material | m³ | 0
8.11.2.2 | b) | Selected fill material | m³ | 0
8.11.3 | 8.2.2.3 | From commercial sources
8.11.3.1 | a) | Selected granular material | m³ | 14.85
8.11.3.2 | b) | Selected fill material | m³ | 59.4
0
TOTAL CARRIED FORWARD TO SUMMARY

## 1200LC
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 9 :
| 1200LC | CABLE DUCTS AND ELECTRICAL SLEEVES
| 8.2 | SCHEDULED ITEMS
9.1 | 8.2.5 | Supply, lay, bed, and prove duct
9.1.1 | a) | Supply, lay, joint, bed (SABS 1200 Drawing LB-2 (a) Flexible pipes bedding) and build into draw pits, proving, and providing draw wire as specified
9.1.1.1 | 1) | 110mm diameter green HDPE kabelflex ducts with double wall construction and smooth inner wall finish including all couplings and 16x1mm polyester silicone coated draw tape/wire. | m | 50
9.1.1.2 | 2) | 110mm diameter black HDPE kabelflex ducts with double wall construction and smooth inner wall finish including all couplings and 16x1mm polyester silicone coated draw tape/wire. | m | 50
9.2 | 8.2.7 | Draw pits/manholes
9.2.1 | a) | 600x600 internal width manhole complete including cover and frame as per details provided | no. | 4
9.2.2 | b) | 900x900 internal width manhole complete including cover and frame as per details provided | no. | 0
9.3 | 8.2.8 | Cable Markers
9.3.1 | a) | Route markers complete with galvanised wire fastened to cable duct and aluminium marker plate with descriptive inscription | no. | 5
9.3.2 | b) | Kerb marks complete with cut lines along kerbs and colour coded markings for water, telkom and electrical duct crossings | no. | 5
TOTAL CARRIED FORWARD TO SUMMARY

## 1200LD
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 10 :
| 1200LD | SEWERS
| 8.2 | SCHEDULED ITEMS
10.1 | 8.2.1 | Supply, lay, joint, bed (SABS 1200 Drawing LB-2 (a) Flexible pipes bedding) and test pipeline
10.1.1 | a) | 110mm diameter uPVC pipes, Class 34 (Heavy Duty) | m | 0
10.1.2 | b) | 160mm diameter uPVC pipes, Class 34 (Heavy Duty) | m | 350
10.1.3 | c) | 200mm diameter uPVC pipes, Class 34 (Heavy Duty) | m | 0
10.2 | 8.2.3 | Manholes
10.2.1 | a) | Supply and install manholes in precast concrete rings (1000mm internal diameter) complete as per detail including cover and frame (Type 2A) as per details provided in the following depths:
|  | Over & Up to |  | 23
10.2.1.1 | 1) | 1.0m 2.0m | no. | 14
10.2.1.2 | 2) | 2.0m 3.0m | no. | 8
10.2.1.3 | 3) | 3.0m 4.0m | no. | 1
10.3 | 8.2.6 | Erf Connections
10.3.1 | a) | Supply, lay, joint and bed erf connections complete including all fittings
10.3.1.1 | 1) | Type 1 (Maximum length 5m) | no. | 6
10.3.1.2 | 2) | Type 2 (Maximum length 7.5m) | no. | 0
10.3.1.3 | 3) | Type 3 (Maximum length 10m) | no. | 29
10.3.1.4 | 4) | Type 4 (Maximum length 15m) | no. | 4
10.3.1.5 | 5) | Type 5 (Maximum length 7.5m) | no. | 0
10.4 | 8.2.11 | Connection to existing sewer at position as shown on the drawings. Rate to include all dealings with municipal authorities and execution of the works. | sum | 1
10.5 | 8.2.12 | Raising or lowering of existing manholes | no. | 1
TOTAL CARRIED FORWARD TO SUMMARY

## 1200LE
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount | Billed Amount
| SABS | SECTION 11 :
| 1200LE | STORMWATER DRAINAGE
| 8.2 | SCHEDULED ITEMS
11.1 | 8.2.1 | Supply and lay concrete pipe culverts:
11.1.1 | a) | 450mm diameter precast concrete class 100D pipes lay jointed and bed (SABS 1200 Drawing LB-1 (c) Rigid pipe on class C bed) | m | 330 |  |  | 0
11.1.2 | b) | 600mm diameter precast concrete class 100D pipes lay jointed and bed (SABS 1200 Drawing LB-1 (c) Rigid pipe on class C bed) | m | 10 |  |  | 0
11.2 | 8.2.4 | Extra-over items 8.2.1 and 8.2.2 for cutting end units for culverts on site
| a) | Straight cut | no. | 2 |  |  | 0
| b) | Skew cut | no. | 2 |  |  | 0
11.3 | 8.2.8 | Supply and install manholes, catchpits and the like
11.2.1 | a) | Manholes complete including cover and frame as per details provided in the following depths:
Over & Up to
11.2.1.1 | 1) | 1.0m 2.0m | no. | 1 |  |  | 0
11.2.1.2 | 2) | 2.0m 3.0m | no. | 1 |  |  | 0
11.2.2 | b) | Catchpits complete including grid and frame as per details provided in the following depths:
Over & Up to
11.2.2.1 | 1) | 1.0m 2.0m | no. | 2 |  |  | 0
11.2.2.2 | 2) | 2.0m 3.0m | no. | 1 |  |  | 0
11.2.3 | c) | Reinforced Concrete Kerb inlets complete including grid and frame as per details provided in the following depths:
Over & Up to
11.2.3.1 | 1) | 1.0m 2.0m | no. | 11 |  |  | 0 | SUB-Soil Drains
11.2.3.2 | 2) | 2.0m 3.0m | no. | 13 |  |  | 0
11.2.3.2 | 2) | 3.0m 4.0m | no. | 2 |  |  | 0
11.3 | 8.2.11 | Anchor Blocks | no. | 35 |  |  | 0
11.4 |  | Headwalls as per details provided | no. | 3
TOTAL CARRIED FORWARD
Item No | Payment Refers | Description | Unit | Quantity | Rate | Amount
TOTAL BROUGHT FORWARD
11.5 |  | Sub-soil Drainage
11.5.1 |  | Supply and lay sub-soil drainage pipes as follows:
11.5.2 |  | Perforated PVCu Pipes - 110mm diameter | m | 170
11.5.3 |  | Perforated PVCu Pipes - 160mm diameter | m | 40
11.5.4 |  | Geofabric Bidim Grade A2 - laid in trench with width of 0.3 metres and depth of 0.3 metres, including 200mm overlap | m² | 280
11.5.5 |  | 19mm stone laid in sub-soil drainage trench as per detail | m³ | 20
11.5.6 |  | Concrete Cap for 110 mm diameter Subsoil drainage System | No | 2
11.5.7 |  | Concrete Cap for 160 mm diameter Subsoil drainage System | No | 1
11.5.8 | 8.2.14 | Sub-soil Drainage System: Supply and lay composite in-plane drainage system as per detail
11.5.8.1 | (i) | Composite fin drain - 110mm diameter including drainage stone and geotextile, complete as per detail on drawings to approx. 2.5m high (Provisional) | m | 0
11.5.8.2 |  | 19mm stone laid in sub-soil drainage trench as per detail (Provisional) | m³ | 0
TOTAL CARRIED FORWARD TO SUMMARY | [6 empty] | 0

## 1200ME
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 12 :
| 1200ME | SUBBASE
| 8.3 | SCHEDULED ITEMS
12.1 | 8.3.3 | Construct the subbase course / shoulders / gravel wearing course with material from commercial sources or designated borrow areas
12.1.1 | a) | Importation of G6 material from commercial sources for construction of the subbase course including compaction to 95% of modified AASHTO maximum density | m³ | 780 |  | 0
TOTAL CARRIED FORWARD TO SUMMARY

## 1200MF
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 13 :
| 1200MF | BASE
| 8.3 | SCHEDULED ITEMS
13.1 | 8.3.3 | Construct the base with material from commercial sources or designated borrow areas
13.1.1 | b) | Graded crushed stone
13.1.1.1 | 1) | Importation of G4 material from commercial sources for construction of the base course including compaction to 98% of modified AASHTO maximum density | m³ | 765
TOTAL CARRIED FORWARD TO SUMMARY

## 1200MJ
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 15 :
| 1200MJ | SEGMENTED PAVING
| 8.2 | SCHEDULED ITEMS
15.1 | 8.2.1 | Provision of edge restraints
15.1.1 | a) | Figure 10 concrete kerb edge restraints as per details with 15/13.2 MPa concrete bedding | m | 120
15.2 | 8.2.2 | Construction of paving complete
15.2.1 | a) | 50mm Thick concrete bevel bond pavers | m² | 150
15.2.2 | b) | 60mm Thick concrete interlocker pavers | m² | 50
TOTAL CARRIED FORWARD TO SUMMARY

## 1200MK
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 16 :
| 1200MK | KERBING AND CHANNELING
| 8.2 | SCHEDULED ITEMS
16.1 | 8.2.2 | Concrete Kerbing
16.1.1 | b) | Precast kerbing complete as per detail
16.1.1.1 | 1) | Figure 3 kerbs | m | 1120
16.1.1.2 | 2) | Figure 12 edge kerbs | m | 15
16.1.1.3 | 3) | Figure 14 channel | m | 10
16.2 | 8.2.6 | Ancillaries
16.2.1 | 8.2.6.1 | Inlet, outlet, transition and similar structures | no. | 5
TOTAL CARRIED FORWARD TO SUMMARY

## 1200MM
Item No | Payment Refers | Description | Unit | Billed Quantity | Rate | Amount
| SABS | SECTION 17 :
| 1200MM | ANCILLARY ROADWORKS
| 8.3 | SCHEDULED ITEMS FOR PERMANENT ROAD SIGNS
17.1 | 8.3 | Permanent Traffic Signs
17.1.1 | 8.3.1 | Sign faces with painted or galvanized background, with painted symbols, characters, legend, and borders and with signboards constructed from
17.1.1.1 | a) | Aluminium sheet (2.0mm thick) installed complete including hot dipped galvanized steel tubing (75mm diameter) with excavation and backfilling:
17.1.1.1.1 | 1) | Road signs - 600mm | no. | 5
17.1.1.1.2 | 2) | Road signs - 900mm | no. | 1
| 8.4 | SCHEDULED ITEMS FOR ROAD MARKINGS
17.2 | 8.4.1 | Non-reflectorized paint applied at nominal rate of 0.42 l/m² (Or proprietary brand road marking material at a nominal rate of application in accordance with suppliers specifications)
17.2.1 | a) | White lines (broken or unbroken), width 100 mm | km | 0.7
17.2.2 | b) | Yellow lines (broken or unbroken), width 100 mm | km | 0
17.2.3 | c) | White characters and symbols | m² | 20
17.2.4 | d) | Yellow characters and symbols | m² | 0
17.2.5 | e) | Traffic island markings (any colour) | m² | 0
17.3 | 8.4.4 | Setting out and premarking
17.3.1 | a) | Lines | km | 0.8
17.3.2 | b) | Special markings | sum | 1
TOTAL CARRIED FORWARD TO SUMMARY